## Sheet1
N.O.W: |  | WATER SUPPLY SCHEME THANDIANI.
BILL OF QUANTITY.
|  |  | Estimated Cost: |  | = | 38663000
|  |  | E/Monery: |  | = | 953000
|  |  | Time Limit |  | = | (01) One Year.
S.# | Description of item of work |  | MRS 2020 | Unit | Quantity | Rate | Amount
1 | Excavation in shingle or gravel formation & rock not required blast undressed 50m lead as in flowing water. |  | 03-11-c | P.M3 | 51.94 | 370.44 | 19240.6536
2 | Excavation in shingle or gravel formation & rock not required blast undressed 50m lead as in dry soil. |  | 03-11-a | P.M3 | 2212.98 | 222.27 | 491879.0646
3 | Plain cement concrete including placing compecting finishing & couring.
| a) Ratio (1:4:8) |  | 06-05-i | P.M3 | 50.44 | 6004.18 | 302850.8392
4 | Pacca Brick Work in (1:3) C.S.M in foundation & plinth |  | 07-04-a-02 | P.M3 | 52.35 | 9488.05 | 496699.4175
5 | Extra labor on item No.(7.07-a-2) from (every 10 ft additional height). |  | 7.8 | P.M3 | 28.51 | 402.85 | 11485.2535
6 | RCC (1:2:4) Type-C as in raft foundation slab, base slab of column & rataining wall etc: not including in 6.06 (as in bed) |  | 06.07-b-03 | P.M3 | 43.71 | 9203.68 | 402292.8528
7 | b) RCC in roof slab, beam, column & other structural members, insitu or precast. (1:2:4) |  | 06-07-a-03 | P.M3 | 79.61 | 9203.68 | 732704.9648
8 | Fabrication of mild steel reinforcement for RCC Work using grade 40 |  | 06-08- c | P.Ton | 11.41 | 141789.8 | 1617821.618
9 | Supplying and fixing of PVC water stopper 8" wide 3/8" thick |  | 24-40 | P.M | 100.26 | 545.24 | 54665.7624
10 | Supply & fixing of MS manhole of 0.25" thick sheet & angle iron frame 2"x2"0.25" with lock complete. |  | 24-33-a | P.No | 20 | 791.56 | 15831.2
11 | Providing & fixing MS angle iron ladder for reservoir i/c. hole steps of MS bars 5/8'' dia complete |  | 25-36 | P.M | 16.44 | 931.75 | 15317.97
12 | Providing and fixing of sluice valve of BSS quality weight for G.I & PVC pipe line including jointing material
| a) 4" dia. |  | 24-22-b | P. No. | 11 | 22580.78 | 248388.58
13 | Providing and fixing of C.I specials of BSS class-B,C & D working pressure for AC pipe line 3" to 6" dia |  | 24-20-a | P.K.g | 580 | 196.59 | 114022.2
14 | Providing and fixing of C.I flanges 5/8" thick on pipes including urning, facing & fitting etc: complete 4" dia. |  | 24-25-a-02 | P. Kg | 10 | 159.41 | 1594.1
15 | Providing and fixing of C.I flanges 5/8" thick on pipes including uring, facing & fitting etc complete 3" dia. |  | 24-25-a-01 | P.Kg. | 13 | 171.02 | 2223.26
16 | Supply & fixing of C.I vent pipe 5/8" thick 3" to 6" dia |  | 24.35 | P.M | 8 | 1656.3 | 13250.4
17 | Plain cement concrete including placing compecting finishing & couring complete.
18 | a) Ratio (1:2:4) |  | 06-05-f | P.M3 | 402.05 | 7783.07 | 3129183.2935
19 | Pacca Brick Work in (1:3) C.S.M as in super structure. |  | 07-05-a-02 | P.M3 | 19 | 10152.56 | 192898.64
20 | Cement plaster (1;3) up to 20' height 3/4'' thick |  | 11-08-c | P.M2 | 93.08 | 394.79 | 36747.0532
21 | Cement plaster 1:3 upto 20' height 1/2" thick |  | 11-08-b | P.M2 | 22.35 | 296.44 | 6625.434
22 | Pacca brick work in (1:4)CSM in ground floor. |  | 07-05-a-03 | P.M3 | 19.16 | 9886.18 | 189419.2088
23 | Providing, laying of 2" thick topping cement concrete (1:2:4) i/c surface finishing. |  | 10-15-e | P.M2 | 25.14 | 817.64 | 20555.4696
24 | Providing,laying,watering & ramming clean course sand under floor |  | 10-03-a | P.M2 | 20.2 | 615.97 | 12442.594
25 | White washing of 3 coats |  | 11-23-a-03 | P.M2 | 105.74 | 45.9 | 4853.466
26 | S/F of 18 SWG MS sheet door with angle iron frame 1-1/2"x1-1/2"x1/8" i/c bolts hinges, paint etc: complete. |  | 25-45-a | P.M2 | 4.4 | 6983.27 | 30726.388
27 | S/F of steel window 18 gauge with openable glazed pannels with 22 SWG wire gauze and glass pane 2 mm complete. |  | 25-39-b-01 | P.M2 | 2.98 | 8405.38 | 25048.0324
28 | S/F of 18 SWG steel almirah 12" max depth i/c box shelves, lock spray paint complete |  | 25-44 | P.M2 | 2.98 | 9886.13 | 29460.6674
Prepare and paint new corrugated surface etc:
29 | a) Primary coat |  | 13-03-a-01 | P.M2 | 17.74 | 162.4 | 2880.976
30 | b) Subsequent coat |  | 13-03-a-02 | P.M2 | 17.74 | 108.35 | 1922.129
31 | Supply & fabrication of heavy steel work with angle, tee, flat iron for making trusses girder tank etc: i/c cutting drilling reviting handling assembling and fixing complete |  | 25-10 | P.Ton | 0.12 | 142665.5 | 17119.86
32 | Rock Excavation, dressing & disposal up to 50m Soft Rock, slate, shale, schist or lateriate |  | 03-13-a | P.M3 | 400 | 668.37 | 267348
33 | Plain cement concrete including placing compecting finishing & couring as in mass concrete less form work using 30% boulders. |  | 06-44-c | P.M3 | 13.02 | 5432.81 | 70735.1862
34 | Providing and installing PVC Strainer BSS Class "C" of approved make \ quality in tubewell bore hole, including socket, special sockets, studs etc. complete as per specification:- 6" Nominal Pipe Size (NPS) (150mm) |  | 24-09-b-01 | P.M | 14 | 1696.04 | 23744.56
35 | Providing, laying of dry boulders 6'' to 9'' size hand packed as filling behind retaining wall. |  | 8 . 16 | P.M3 | 7.84 | 2336.42 | 18317.5328
36 | R.R. Masonary in (1:6) Cement Sand Mortar as in foundation and plinth. |  | 08-01-d-03 | P.M3 | 212.8 | 6683.45 | 1422238.16
37 | Cement pointing in (1:3) cement sand mortar up to 20' height struct joints on wall. |  | 11-18-b | P.M2 | 269.61 | 303.25 | 81759.2325
38 | Pointing flush on stone work, upto 20' height On stone work raised : in c/s mortar 1:3 |  | 11-19-c-02 | P.M2 | 100.8 | 461.42 | 46511.136
39 | Providing and fixing of movi type centrifugal pump capable of giving a discharge of 5000 imperial gallons per hour against a total head of 1750 feet coupled with an electric motor of suitable horse power i/c all required accessories such as Sluice valve, Non return valve, pressure gauge, water meter, water level, indicating system,voltage stabilizer and MCU complete in all respect. |  |  | P.Job | 1 | 3200000 | 3200000
40 | Providing and fixing of movi type centrifugal pump capable of giving a discharge of 5000 imperial gallons per hour against a total head of 1750 feet coupled with an electric motor of suitable horse power i/c all required accessories such as Sluice valve, Non return valve, pressure gauge, water meter, water level, indicating system,voltage stabilizer and MCU complete in all respect.(as stand by unit) |  |  | P.Job | 1 | 3200000 | 3200000
41 | Provision made for pump connection i/c cost of all required fittings and accessories such as flanges, washing tee, sluice valve, ded plate, and expansion joints welded or flanged etc. complete. |  |  | P.Job | 1 | 30000 | 30000
42 | Provision made for internal electrifications to be done by contractor in pump house as wiring i. e. light points, light plug point, circuit breakers, light main board, water tights i/c. energy savers, imported auto circuit breakers, 100 ampere 500 volts, bracket fan, energy saver bulbs, ear thing and errection copper plate, placing in mixture of salt and char coal and G. I. wire complete. |  |  | P.JOb | 1 | 30000 | 30000
43 | Providing and Laying cut, joint, test & disinfect GI pipe line Using medium quality GI Pipe : 4" Dia |  | 24-16-b-09 | P.M | 4780 | 2741.18 | 13102840.4
44 | Providing and Laying cut, joint, test & disinfect GI pipe line Using light quality GI Pipe : 4" i/d |  | 24-16-c-09 | P.M | 1401 | 2253.68 | 3157405.68
45 | Providing and Laying cut, joint, test & disinfect GI pipe line Using light quality GI Pipe : 3" i/d |  | 24-16-c-08 | P.M | 1203 | 1559.3 | 1875837.9
46 | Providing and Laying cut, joint, test & disinfect GI pipe line Using light quality GI Pipe : 2" i/d |  | 24-16-c-06 | P.M | 550 | 943.03 | 518666.5
47 | Providing and Laying cut, joint, test & disinfect GI pipe line Using light quality GI Pipe : 2.5" i/d |  | 24-16-c-07 | P.M | 706 | 1329.64 | 938725.84
48 | Providing and Laying cut, joint, test & disinfect GI pipe line Using light quality GI Pipe : 1.5" i/d |  | 24-16-c-05 | P.M | 122 | 752.43 | 91796.46
49 | Providing and Laying cut, joint, test & disinfect GI pipe line Using light quality GI Pipe : 1" i/d |  | 24-16-c-03 | P.M | 366 | 471.56 | 172590.96
50 | Providing and Fixing sluice valve of BSS quality weight for GI & PVC pipe line including jointing material : 3" i/d |  | 24-22-a | P.No. | 3 | 19213.27 | 57639.81
51 | S/ Fixing of Air valve of 3'' size double action flanged type. |  | 24-24-b | P.No | 4 | 6248.68 | 24994.72
52 | S/ Fixing of Reflex valve of of BSS quality 3'' to 6'' dia. |  | 24-44 | P.No | 4 | 4305.87 | 17223.48
53 | Providing and Fixing Brass peet / gate valve 2.5" dia |  | 24-49-e | P.No | 2 | 4099.73 | 8199.46
54 | Providing and Fixing Brass peet / gate valve 2" dia |  | 24-49-d | P.No | 2 | 3061.28 | 6122.56
55 | Providing and Fixing Brass peet / gate valve 1.5" dia |  | 24-49-c | P.No | 2 | 2069.43 | 4138.86
56 | Dismentling of existing paved streets for laying of pipe lines and crossing of roads etc. complete. |  | 04-19-c | P.M3 | 20 | 2855.19 | 57103.8
57 | Excavation of trench in all kinds of soils except cutting in rock for pilelines upto 1.5m depth |  | 03.-51 | P.M3 | 3180 | 184.29 | 586042.2
58 | Filling, watering and raming earth with surplus earth etc (for trenches) |  | 03-18-a | P.M3 | 3794 | 77.66 | 294642.04
59 | Providing house connections with proposed pipe lines i/c. required specials and 1/2'' i/dia G.I.pipes as per site requirements complete. |  | NSI | P.No. | 150 | 1200 | 180000
TOTAL = | [6 empty] | 37724775.8258
Multiplyed by 1.03 Cost Factor for District Abbottabad =
Rate: _____________% Above/Below/At Par.
CONTRACTOR'S STAMP / SIGNATURE